## Neuro Interventional Radiology
Client | Location & Date | Observation | Problem | Primary Need | Score (5 = most important)
Dr. Steven Hetts | UCSF Neuro Interventional Radiology. June 8th, June 13th, July 6th, 2018. | According to the physician, aneurysms can be hidden behind bends in the vasculature | Hidden aneurysms that are not diagnosed and fixed may rupture and have devastating consequences for the patient | A device that allows physicians to better visualize and diagnose hidden aneurysms | 4.4
Dr. Steven Hetts | UCSF Neuro Interventional Radiology. June 8th, June 13th, July 6th, 2018. | Operating on patients with bow hunter's syndrome requires them to be awake and cooperative during surgery. | It is hard to operate on children with bow hunter's syndrome because some of them are not cooperative. | A device that accurately allows physicians to take meaningful angiograms in children with bow hunter's syndrome while making sure the head is not overextended, and the head angle for each measurement is ideal | 4
Dr. Steven Hetts | UCSF Neuro Interventional Radiology. June 8th, June 13th, July 6th, 2018. | Sometimes, the guide wire can nick the inside of an artery, leading to endothelial damage and blood clot formation | There is no way to measure the state of the retina during surgery | A device that can continuously measure the state of the retina during surgery | 3.9
Dr. Steven Hetts | UCSF Neuro Interventional Radiology. June 8th, June 13th, July 6th, 2018. | During an angiogram, the technologist did not speak Spanish and had trouble communicating with the patient | If the patient does not understand what the technologist is saying, this may extend the time of their procedure | A system that can give standard instructions to the patient in a variety of languages | 3.8
Dr. Steven Hetts | UCSF Neuro Interventional Radiology. June 8th, June 13th, July 6th, 2018. | If one of many small vessels inside the brain is damaged (either through the rupture of an aneurysm, blunt trauma, etc.), a patient may lose sight, speech, etc. | Surgeons cannot protect or replace small but important blood vessels | A device that allows physicians to protect or restore important, damaged blood vessels in the brain | 3.8
Dr. Steven Hetts | UCSF Neuro Interventional Radiology. June 8th, June 13th, July 6th, 2018. | Many patients only discover their aneurysms by accident (in other words, when they come in for a different medical condition, such as a concussion or car accident) | If many patients discover their aneurysms by accident, many others do not discover them at all until they burst and are extremely life-threatening | A device that allows patients to discover an aneurysm early after formation, or monitor susceptible blood vessels | 3.6
Dr. Steven Hetts | UCSF Neuro Interventional Radiology. June 8th, June 13th, July 6th, 2018. | Many patients were subjected to surgery simply to understand their pathologies | Physicians lack effective non-invasive visualization tools | A device/technique to better visualize vasculature without resorting to surgery | 3.6
Dr. Steven Hetts | UCSF Neuro Interventional Radiology. June 8th, June 13th, July 6th, 2018. | When entering an aneurysm, the wire "jumps" if there is no backwards pressure exerted on it | The physician must manipulate the wire in a specific way in order for certain procedures to go smoothly | A device that safely enters a patient's aneurysm without retracting quickly | 3.6
Dr. Steven Hetts | UCSF Neuro Interventional Radiology. June 8th, June 13th, July 6th, 2018. | If an artery is scratched or nicked in the brain, it could rupture the blood vessel, and the patient could bleed out within minutes | Reaching aneurysms in the brain is more dangerous because the blood vessels are delicate and prone to rupture (rupture leads to high patient mortality rates) | A device that allows physicians to reach aneurysms in the brain without the risk of rupturing cerebral blood vessels | 3.5
Dr. Steven Hetts | UCSF Neuro Interventional Radiology. June 8th, June 13th, July 6th, 2018. | The anesthesiologist had to halt a patient's breathing for several seconds at time (and several times during the procedure) in order to visualize the patient | Even though the success of the procedure is contingent upon the patient not moving or breathing for small portions of time, there is a danger that the anesthesiologist will deprive the brain of oxygen for too long, resulting in damage. | A device that ensures that a patient is not left without for oxygen for too long during a procedure. | 3.5
Dr. Steven Hetts | UCSF Neuro Interventional Radiology. June 8th, June 13th, July 6th, 2018. | A member of the staff came into the angio suite after a procedure to ask where an implant had been added | If the nurses and caregivers post-operation do not know all of the important details of the procedure, they may give unadvised or incorrect treatment | A device or system that allows the surgeon and staff to all be up to date on the critical details of the procedure and treatment | 3.4
Dr. Steven Hetts | UCSF Neuro Interventional Radiology. June 8th, June 13th, July 6th, 2018. | The anesthesiologist uses the blood pressure of the body to estimate the blood pressure of individual organs | The blood pressure of the body may not accurately represent the blood pressure of a particular organ, such as the liver and kidneys | A device that is able to measure the blood pressure of any individual organ during surgery | 3.4
Dr. Steven Hetts | UCSF Neuro Interventional Radiology. June 8th, June 13th, July 6th, 2018. | The patient thought she was allergic to aspirin but she was not. | Doctors have to take unnecessary measures when treating patients who give inaccurate or false information | A device that accurately checks a patient's allergies | 3.3
Dr. Steven Hetts | UCSF Neuro Interventional Radiology. June 8th, June 13th, July 6th, 2018. | Patients had to remain still and refrain from breathing or swallowing for several seconds at a time | Patients may have a hard time holding their breath or not moving for several seconds at a time, which can affect procedure outcomes, and lead to patient anxiety | A device that allows visualization of the patient's vasculature that doesn't require the patient to take action | 3.2
Dr. Steven Hetts | UCSF Neuro Interventional Radiology. June 8th, June 13th, July 6th, 2018. | It is difficult to maneuver the catheter during an angiogram because of the complex structure of the blood vessels. | The surgeon has to spend a lot of time to direct the catheter to the right place. | A device that guides the catheter through blood vessels easily. | 3.2
Dr. Steven Hetts | UCSF Neuro Interventional Radiology. June 8th, June 13th, July 6th, 2018. | The healthcare providers must wear radiation protection before entering into the OR | Current visualization device (x-rays) emits radiation that is harmful to both patients and health providers | A device that protects health providers and patients from harmful radiation | 3.1
Dr. Steven Hetts | UCSF Neuro Interventional Radiology. June 8th, June 13th, July 6th, 2018. | The physician had to use many different imaging methods in order to visualize a benign spine tumor | More imaging and tests results in higher costs and discomfort for the patient. It also requires more work for the doctor | A device/technique that allows the physician to obtain the necessary information with minimal testing and imaging | 3.1
Dr. Steven Hetts | UCSF Neuro Interventional Radiology. June 8th, June 13th, July 6th, 2018. | About a half hour after a patient was administered anesthesia, she unexpectedly starting to move. The anesthesiologist administered a paralyzing agent, but was surprised by the movement (she did not anticipate it) | The anesthesiologist was not able to predict the movement of the patient after administering anesthesia. | A device that allows an anesthesia to better anticipate a patient's movements | 3.1
Dr. Steven Hetts | UCSF Neuro Interventional Radiology. June 8th, June 13th, July 6th, 2018. | With one patient's aneurysm repair, the physician had to use the coiling method in a different visit from the stent placement, because the stent was liable to move | The patient must return several weeks later in order to finish their noninvasive surgery, leading to increased costs and recovery times for the patient | A device that can keep the vascular passageway open without wiggling during the aneurysm repair | 3.1
Dr. Steven Hetts | UCSF Neuro Interventional Radiology. June 8th, June 13th, July 6th, 2018. | The physician has a difficult time moving the catheter in the opposite direction of blood flow - even if he is already up in the head/neck region of the patient, he has to reenter the patient's femoral artery in order to access certain areas | Time is wasted while a physician re-threads a catheter in order to reach a side of the patient's body that is inaccessible due to opposing blood flow | A device that allows physicians to access all parts of the patient's body without re-entering and/or re-threading | 3.1
Dr. Steven Hetts | UCSF Neuro Interventional Radiology. June 8th, June 13th, July 6th, 2018. | The physician spent a long time to fill in the electronic health record | The more time a physician spends filling out paperwork, the less time (s)he is treating patients | A device that minimizes a physician's time spent filling out paperwork (or the time of other trained personnel) | 3
Dr. Steven Hetts | UCSF Neuro Interventional Radiology. June 8th, June 13th, July 6th, 2018. | During the visualization of the aneurysm, the nurse or physician had to tell the anesthesiologist to induce apnea and breathing periods | The anesthesiologist may not hear the nurse/physician or miss a part of the instruction | A device that allows quick coordination of the breathing apnea and imaging process | 3
Dr. Steven Hetts | UCSF Neuro Interventional Radiology. June 8th, June 13th, July 6th, 2018. | In one aneurysm repair case, the micro catheter was pulled back too far - the stent was pulled back with it, and physician had to go back through the leg over again | Re-threading the guide wire added time to the surgery and wasted supplies (the stent could not be reused). There was no guarantee that teach time the physician removed the catheter from the patient that the stent would not come with it | A device that ensures stents must be threaded into a patient only once | 3
Dr. Steven Hetts | UCSF Neuro Interventional Radiology. June 8th, June 13th, July 6th, 2018. | The physician reviewed the images and videos by hand | A physician's mistakes can lead to unnecessary (or even harmful) treatments | A device/technique to allow physicians to be more certain of diagnoses | 2.9
Dr. Steven Hetts | UCSF Neuro Interventional Radiology. June 8th, June 13th, July 6th, 2018. | The resident had difficulty manipulating a wire around a specific part of the blood vessel in the brain | It was difficult for the resident to maneuver the wire around specific parts of vasculature, greatly lengthening the time spent performing the procedure | A device that permits easy manipulation of the guide wire in the vasculature of the brain | 2.9
Dr. Steven Hetts | UCSF Neuro Interventional Radiology. June 8th, June 13th, July 6th, 2018. | Dr. Hetts had difficulty fitting the catheter around the guide wire several times during an older patient's surgery, because his blood vessels had grown more convoluted with age. The patient had to take a deep breath in order to straighten out his blood vessels. | Using excessive force when slipping the catheter over the guide wire can cause harm to the patient (and perhaps even lead to nicking of the blood vessels) | A device that helps physicians to maneuver a catheter over the guide wire using minimal force | 2.9
Dr. Steven Hetts | UCSF Neuro Interventional Radiology. June 8th, June 13th, July 6th, 2018. | After the surgery was over, the surgeon could not locate the patient because the nurse was not in the room | The surgeon had to take extra time to find the patient and prolonged the time it took to verify the patient was able to see | A device or system that records the exact location of the patient as they are transported to different areas of the hospital | 2.9
Dr. Steven Hetts | UCSF Neuro Interventional Radiology. June 8th, June 13th, July 6th, 2018. | Sometimes, the guide wire can nick the inside of an artery, leading to endothelial damage and blood clot formation | Hard-to-maneuver blood vessels are prone to getting nicked with guide wires, which can cause long-term patient consequences | A device that allows physicians to easily maneuver guide wires through the body to avoid nicking blood vessels | 2.8
Dr. Steven Hetts | UCSF Neuro Interventional Radiology. June 8th, June 13th, July 6th, 2018. | Patients might move during the angiogram because they are uncomfortable and/or feel claustrophobic | It is dangerous for the patient to move during angiogram. | A device that helps patients reach the position that would provide maximum comfort before the surgery. | 2.5
Dr. Steven Hetts | UCSF Neuro Interventional Radiology. June 8th, June 13th, July 6th, 2018. | The physician had to tap a syringe several times to ensure that all air bubbles had left before injecting fluids into the patient | Accidently injecting air bubbles into a patient's brain can cause death | A device that ensures all air bubbles are eliminated from injectable substances used during neuro-interventional surgeries | 2.5
Dr. Steven Hetts | UCSF Neuro Interventional Radiology. June 8th, June 13th, July 6th, 2018. | The nurse had to cuff up the arms to make sure the x-ray dye was going primarily to the brain | It is not a pleasant experience for the patients to be repeatedly cuffed during an angiogram. | An imaging technique that obtains good image of the blood vessels without requiring the patient to be restricted with cuffs around their arms | 2.4
Dr. Steven Hetts | UCSF Neuro Interventional Radiology. June 8th, June 13th, July 6th, 2018. | A man with bow hunter's syndrome had previously received surgical treatment, but his symptoms still persisted | The surgical treatment for bow hunter's syndrome (removing bone from the neck) was not effective | A device that allows patients with bow hunter's syndrome to be successfully treated in one visit | 2.3
Dr. Steven Hetts | UCSF Neuro Interventional Radiology. June 8th, June 13th, July 6th, 2018. | The surgeon was pricked by a used suturing needle left by a fellow during surgery. | The used needle can infect the surgeon with HIV or hepatitis if the patient has such diseases. | A standard protocol that regulates the way surgeons handle sharp objects. | 2.1
Dr. Steven Hetts | UCSF Neuro Interventional Radiology. June 8th, June 13th, July 6th, 2018. | The computer froze during a 3D angiogram | It is troublesome for the medical team to wait for a long time before the 3D graph comes out. | A device that is more powerful and efficient when processing the 3D angiography. | 2

## Mobile Dental Clinic
Client | Location & Date | Observation | Problem | Primary Need | Score (5 = most important)
Regina Berny | Mobile Dental Clinic. June 18, 2018. | Information about the clinic is generally spread by word of mouth - the clinic does not do much publicizing in the community | There may be individuals who are in serious need of free dental care, but do not hear about the mobile health clinic | A device/technique/method that allows for easy publicizing of the clinic in the surrounding areas | 4.4
Regina Berny | Mobile Dental Clinic. June 18, 2018. | Not all patients who come to the clinic will be treated; sometimes the patient have to return the next day | Walk-in patients are not helped immediately if the providers are helping other patients at the time | An easily accessible system that allows patients to check the dentist's schedule | 4.4
Regina Berny | Mobile Dental Clinic. June 18, 2018. | The clinic runs only from 9AM to 1PM and all of their clients are students; Parents are hesitant to pull students out from school | Most targeted patients cannot go to clinics during the hours | A way to provide dental care for students who cannot go to the clinics during the working hours | 4.35
Regina Berny | Mobile Dental Clinic. June 18, 2018. | If you take out a baby tooth before the permanent tooth comes in, the surrounding teeth will fill that space, making it harder for the permanent tooth to erupt into the correct location | It can be difficult to determine if the baby tooth is ready to be taken out without taking an X-ray | A device that can determine how much a baby tooth has been resorbed and if it is ready to come out | 3.8
Regina Berny | Mobile Dental Clinic. June 18, 2018. | The mobile clinic itself is not well ventilated | Patients may feel claustrophobic or faint due to lack of air flow | A device that promotes air flow inside of the vehicle | 3.75
Regina Berny | Mobile Dental Clinic. June 18, 2018. | Child patients cried during multiple dental procedures | Patients experience physical pain and psychological fear during certain dental procedures | A way to provide appropriate procedures while maintaining patients physically comfortable and calm | 3.55
Regina Berny | Mobile Dental Clinic. June 18, 2018. | Patients can only stay at the clinic until age 19 | Patients who are over 19 may not have the resources to find a new dentist, and may not maintain proper oral health | A device or system that connects adult patients with dentists and other oral health specialists | 3.45
Regina Berny | Mobile Dental Clinic. June 18, 2018. | The Nomad X-ray machine must be used in a certain orientation to prevent exposing the user to X-rays | It is not entirely clear to the user if they will be exposed to X-rays at a particular orientation | A device to transmit X-ray radiation in a manner that is intuitive for the user | 3.15
Regina Berny | Mobile Dental Clinic. June 18, 2018. | Patients do not notice they have cavities until their teeth begin to hurt | Cavities are best treated before they become extensive, but are generally discovered after more | A preventative system to check oral health on a regular basis | 3.15
Regina Berny | Mobile Dental Clinic. June 18, 2018. | The pictures taken by Nomad X-ray machine must be printed out and then later scanned in that same day for digital records | There is a needless extra step in the process: printing pictures | An improvement to the Nomad X-ray machine that allows its data to be shared via some electronic means (USB, wires, direct input over internet) into another computer and/or the digital record system | 3.1
Regina Berny | Mobile Dental Clinic. June 18, 2018. | A few mobile dental clinic employees are not specialized - it is their job to complete miscellaneous tasks (ex. driving) | The mobile clinic has to hire many people in order to give patients complete care, raising costs | A device or system that allows shared tasks to be split between the existing employees | 3.1
Regina Berny | Mobile Dental Clinic. June 18, 2018. | The container that stores the X-ray processing solution is shallow | If the van is jolted or moves suddently, the X-ray processing solution is liable to spill | A method to prevent the X-ray processing solution from spilling. | 3.1
Regina Berny | Mobile Dental Clinic. June 18, 2018. | The kids like the Mobile Dental Clinic because it is more casual than a dentist's office and reminds them of a McDonald's | Children like the mobile dental clinic because it is a casual setting, whereas they are more nervous and afraid about attending a brick-and-mortar dental clinic because of its more rigid, formal atmosphere | A device or design that helps put children at ease in brick-and-mortar dental clinics | 3.05
Regina Berny | Mobile Dental Clinic. June 18, 2018. | Many patients or parents of patients will prefer to take out a baby tooth once it is slightly loose, putting the underlying permanent tooth at risk of complications during eruption | If you take out a baby tooth before the permanent tooth comes in, the surrounding teeth will fill that space, making it harder for the permanent tooth to erupt into the correct location | A device that prevents baby teeth from being pulled out until the proper time for a permanent tooth to erupt | 2.85
Regina Berny | Mobile Dental Clinic. June 18, 2018. | The clinic is currently trying to incorporate orthodontics into their practice, but it is expensive | Orthodontics involves many tools and equipment that are expensive | A set of orthodontics tools that are less expensive while not cutting out any essential techniques necessary in orthodontics | 2.8
Regina Berny | Mobile Dental Clinic. June 18, 2018. | The van must be situated on flat ground in order for the equipment inside to function | Dentist cannot operate certain devices when the van is parked on sloped ground because devices are tilted | A device that allows the mobile dental clinic to operate even when parked on tilted ground | 2.75
Regina Berny | Mobile Dental Clinic. June 18, 2018. | The clinic is currently trying to incorporate orthodontics into their practice, but it is expensive | It is difficult to find orthodontists who are willing to provide services for lower wages | A device that allows users to remotely provide their services with the aid of volunteers at the clinic | 2.75
Regina Berny | Mobile Dental Clinic. June 18, 2018. | The X-ray film used in the mobile dental clinic is not panoramic. | Patients have to bite in small pieces of films several times to get a complete X-ray image of their teeth. | A technology that enables panoramic images of patients teeth to be taken even in the mobile dental clinic. | 2.75
Regina Berny | Mobile Dental Clinic. June 18, 2018. | One dentist did not learn about her current job with the mobile dental clinic through an ad; she found out about it while interviewing for different job | The clinic is not well-publicized, even among health care providers who might be interested in helping out | A system that allows health care providers who are willing to help to get involved with the service | 2.7
Regina Berny | Mobile Dental Clinic. June 18, 2018. | The built-in leveling system on the van is not powerful, meaning that the van can only park on level ground | The van cannot park on uneven land, limiting the possible locations where it can operate | A device that allows the mobile dental clinic to keep their van level even on land that isn't flat. | 2.5
Regina Berny | Mobile Dental Clinic. June 18, 2018. | The Richmond MacDonal Street location for the mobile dental clinic is not easily reachable for people who don't have cars. | The mobile clinic is not easily accessible to low-income families without cars | An device that helps dentists to determine the optimal parking spot based on primary patient location and public transit access. | 2.5
Regina Berny | Mobile Dental Clinic. June 18, 2018. | The clean water and power generator equipped on the van weigh a lot | Gas expenses are high as a result of the extra weight from the clean water and power generator | A device that helps the clinic to factors in clean water and external electricity access when choosing parking spots | 2.45
Regina Berny | Mobile Dental Clinic. June 18, 2018. | Each set of tools must be sterilized and put in its own bag for storage and handling | The packaging of the tools takes up extra space, which is bad for mobile clinics since they need to optimize their space usage to the maximum. | A device or technique that allows tools to be kept sterile while minimizing the amount of space they require | 2.4
Regina Berny | Mobile Dental Clinic. June 18, 2018. | The external film that the patients have to bite on while taking X-ray photos is large | The films sometimes causes nausea in some patients especially children. | A method to reduce the foreign body sensation of the patient that caused by the external film. | 2.25
Regina Berny | Mobile Dental Clinic. June 18, 2018. | Dental X-ray processing solutions are toxic. | The toxic solutions are a health concern as well as an environmental concern. | A nontoxic device or technique that can process dental x-rays | 2.1
Regina Berny | Mobile Dental Clinic. June 18, 2018. | The people who work at the clinics monitor their levels of radiation through a detector | The imaging techniques pose side effect on health providers | A device that protect the health care provider from radiation while maintaining a high standard of care for the patient | 2.1
Regina Berny | Mobile Dental Clinic. June 18, 2018. | The van can only serve places where it can park. For example, it doesn't attend certain schools because there is no available parking. | The van is not able to fit into smaller parking lots/locations, and thus, cannot serve patients in these locations. | A device that allows the van to operate even when faced with smaller spaces than desired | 1.8
Regina Berny | Mobile Dental Clinic. June 18, 2018. | Van was fairly small and can only fit ~2 patients at once | The number of patients that are able to be seen at the same time is limited | A device/method that allows more than two patients to be seen at one time | 1.75
Regina Berny | Mobile Dental Clinic. June 18, 2018. | The clinic is currently trying to incorporate orthodontics into their practice, but it is expensive | Many products in orthodontics are not reusable, making sustaining a supply expensive | Products that can be used more than once in orthodontics, such as rubber bands, threads, and chains | 1.75
Regina Berny | Mobile Dental Clinic. June 18, 2018. | The van can only hold enough equipment to perform basic dental procedures | Patients with advanced or complicated oral health issues are not able to get treatments on the van | A device or method that allows dentists to perform complicated oral health procedures on the van | 1.65

## SFGH Toxicology Lab
Client | Location & Date | Observation | Problem | Primary Need | Score (5 = most important)
Dr. Alan Wu | UCSF Toxicology Lab. June 19, 2018. | The blood gas test must be performed within 15 minutes after the sample is drawn. | Even when testing a blood sample within the required timeframe, the results may still be inaccurate | A device that can test for blood gases immediately upon obtaining the blood sample | 3.8
Dr. Alan Wu | UCSF Toxicology Lab. June 19, 2018. | Point-of-care colon-cancer diagnostic devices used by patients involve color changes and are often subject to interpretation, and may cause the patient to either (1) not consult with a physician when they should, or (2) ignore symptoms because they believe their diagnostic test proves nothing is wrong with them | The results of many point-of-care diagnostic devices are ambiguous and hard for the patient to analyze | A colon-cancer diagnostic device that displays unambiguous, easy-to-interpret results | 3.65
Dr. Alan Wu | UCSF Toxicology Lab. June 19, 2018. | Patients exposed to toxic substances may not have immediate symptoms | Patients who have been exposed to toxic substances are often released from the hospital without being monitored for delayed symptoms | A device that can monitor patients who have been exposed to toxic substances for symptoms for short periods of time following hospital release | 3.65
Dr. Alan Wu | UCSF Toxicology Lab. June 19, 2018. | Many point-of-care devices sacrifice precision and accuracy in order to save time | Many point-of-care devices don't end up being used by physicians because they are not accurate enough to substitute for a longer, but more precise laboratory test | A time-efficient diagnostic device that has the level of precision similar to the gold standard device. | 3.55
Dr. Alan Wu | UCSF Toxicology Lab. June 19, 2018. | In the emergency room, it was not easy for Dr. Wu to access patients' health and testing records from the summary computer screen | Physicians are unable to quickly access a patients' detailed records in the emergency room | A device that allows physicians to more easily link patients' name and summary info with their lab testing results and patient record | 3.45
Dr. Alan Wu | UCSF Toxicology Lab. June 19, 2018. | Many patients who have been exposed to toxic substances don't seek help until their symptoms are serious | Patients suffer more damage and critical situations because they do not seek help early after exposure to a toxic substance | A device that helps patients to gauge their symptoms and monitor basic levels, and indicates when the patient should seek professional help | 3.45
Dr. Alan Wu | UCSF Toxicology Lab. June 19, 2018. | Dr. Wu mentioned that the hospital kept several point-of-care device systems around the hospital, not because they were used frequently, but in case of a power outage. | More accurate lab testing is not able to be run during power outages | A device that allows lab testing to continue, even if the hospital's major external power source is lost | 3.45
Dr. Alan Wu | UCSF Toxicology Lab. June 19, 2018. | We were told that when patients come into the hospital having been poisoned, they are often able to name the toxic chemical to which they've been exposed, but may not correctly name their route of exposure | Patient treatment may be based off of false information regarding route of exposure (ex. subdermal vs. intramuscular) | A device that helps physicians to determine routes of exposure to toxins | 3.4
Dr. Alan Wu | UCSF Toxicology Lab. June 19, 2018. | During the transition from paper to digital, there is a mix of patient information being recorded digitally and some test results such as electrophoresis gels remain in paper files | Having information scattered in various places can lead to a physician missing key information and even misdiagnosis | A device that allows for fast and easy transfer between results and patient information | 3.25
Dr. Alan Wu | UCSF Toxicology Lab. June 19, 2018. | Sepsis is a life threatening disease and must be diagnosed quickly. The current test consists of a blood culture | A blood culture test for sepsis takes time, which can come at the cost of the patient's life and spread of infection | A device that can immediately detect the presence of sepsis at any stage | 3.25
Dr. Alan Wu | UCSF Toxicology Lab. June 19, 2018. | There is no point-of-care test for hyperthyroidism | Patients who suffer from hyperthyroidism may have life-threatening "thyroid storms" if not diagnosed | A device that can be used outside of the hospital setting that can diagnose hyperthyroidism | 3.2
Dr. Alan Wu | UCSF Toxicology Lab. June 19, 2018. | Metal pipes had to be installed to direct air conditioning because the machines overheated and shut down during a heat wave | If blood samples have to be sent to a different lab due to equipment breakdown on account of the weather, a patient must wait longer to be diagnosed and receive treatment | All devices and machines used to diagnose patients should be resistant to temperature fluctuations | 3.2
Dr. Alan Wu | UCSF Toxicology Lab. June 19, 2018. | For specific tests, a patient must return back to the physician's office for results or to pick up their medication | Long test turn-around times mean lost work hours, additional transportation fees, etc. for patients. | A rapid-result diagnostic device that can remain in a physician's office to allow for fewer office and pharmacy visits | 3.15
Dr. Alan Wu | UCSF Toxicology Lab. June 19, 2018. | In order to monitor their diabetes, patients must come into the hospital fairly often to complete laboratory testing and consult with their physicians | Patients may not come to the hospital as often as they should because they do not feel they have the time, energy, or money, and as a result, their diabetes may be poorly controlled | A device that allows patients to remotely manage their diabetes | 3.15
Dr. Alan Wu | UCSF Toxicology Lab. June 19, 2018. | Sometimes when patients are exposed to toxic substances, physicians create "medical errors" which are caused by the patient having a different metabolism than the general population. This leads to either ineffective or more harmful treatments. | Physicians have difficulty or are unable to recognize when patients metabolize differently than the general population, resulting in inappropriate treatment options | A device that allows physicians to determine whether or not a patient's metabolism is similar to or different from the general population | 3.1
Dr. Alan Wu | UCSF Toxicology Lab. June 19, 2018. | With molecular tests, the clinical lab staff does not know if it is working | A prolonged test can lead to valuable time being wasted and a longer period of time during which the patient goes untreated | A device that performs molecular tests is able to identify whether the test is progressing and the data is reasonable | 3
Dr. Alan Wu | UCSF Toxicology Lab. June 19, 2018. | Quality control tests are performed roughly three times a day per machine | Time spent on quality control tests (which themselves, are essential) is time that could otherwise be spent running patient samples | A device that can simultaneously run patient samples and perform quality control testing | 3
Dr. Alan Wu | UCSF Toxicology Lab. June 19, 2018. | Physicians often do not wish to diagnose patients until they have results back to every single test. Therefore, the slowest lab tests determine the rate of diagnosis. | Physicians must wait for all results before diagnosing patients, resulting in longer-hospital-stays and the delay of patient treatment. | A device that completes the slowest hospital tests in an expedient manner | 2.9
Dr. Alan Wu | UCSF Toxicology Lab. June 19, 2018. | A point-of-care test for cardiovascular issues is roughly 60% effective, likely due to the irregular secretion of the molecule tested | Patients who are unable to predict heart problems will not be able to take preventative treatment measures, and will not seek treatment until the condition is life-threatening | A device that can accurately predict the onset of heart condition-related symptoms | 2.9
Dr. Alan Wu | UCSF Toxicology Lab. June 19, 2018. | For malpractice purposes, physicians do not want to give a patient more tests than necessary | Physicians may order more tests than necessary, which could lead to malpractice law suits in the future | A device that helps physicians decide which tests to order for a particular set of symptoms | 2.8
Dr. Alan Wu | UCSF Toxicology Lab. June 19, 2018. | For all point-of-care devices shown, the physician in the room mentioned that she would like to see quantitative results | Physicians rely on traditional lab tests because they want a quantification of a patient's illness, rather than simply an indication | A point-of-care device that quantifies levels rather than indicate the presence of a particular marker | 2.65
Dr. Alan Wu | UCSF Toxicology Lab. June 19, 2018. | Any device meant to be used in the ICU must "fit on the pole," the structure containing all of the medical devices and equipment used by staff | If a medical device that can help save lives of patients requiring critical care does not fit within the present structure, these patients may not benefit from the technology which can come at the cost of their quality of life after leaving the hospital or even their life | A structure that can accommodate many different sizes and types of medical devices while remaining convenient to move and maintain | 2.65
Dr. Alan Wu | UCSF Toxicology Lab. June 19, 2018. | There are currently only two tests for testing for amniotic fluid in vaginal discharge during a pregnancy: a "ferning" method, which works perfectly fine most of the time, and a $126 point-of-care diagnostic test | Patients may not be able to afford the more expensive point-of-care test, but would still like to have the doctor's suspicions confirmed with some sort of laboratory test | An inexpensive device that can test for amniotic fluid in vaginal discharge during a pregnancy | 2.5
Dr. Alan Wu | UCSF Toxicology Lab. June 19, 2018. | Abnormal surface proteins on exovesicles (fusion of endosome and phospholipid membrane) may indicate diseases such as cancer, diabetes, and neurodegeneration. A microfluidics chip has been patented to test small amounts of a patient's fluid for abnormal exovesicles. | While testing is being developed to analyze a patient's exovesicles on a small scale, there exists no technology to run multiple tests at once in a large-scale-operation | A diagnostic device that allows the bulk testing of exovesicles | 2.5
Dr. Alan Wu | UCSF Toxicology Lab. June 19, 2018. | All of the different tests such as blood, urine and bacterial are done separately but they are all needed for diagnosis | Time and resources are wasted by having all tests performed at different times | A device or system that allows for efficient testing and complete results | 2.35
Dr. Alan Wu | UCSF Toxicology Lab. June 19, 2018. | Many of the patients served at the San Francisco General Hospital are homeless, and are not able to be identified when they first attend the hospital | A homeless patient's pre-existing health conditions are not visible to the physician when they are first treated. | A device that allows physicians to more easily access information for not-easily-identifiable, but repeat patients | 2.35
Dr. Alan Wu | UCSF Toxicology Lab. June 19, 2018. | Lab technicians must go through extensive training to be able to perform tests and read lab test results | The necessity for highly-trained lab technicians drives up costs for lab tests | A device that allows tests to be more easily administered and interpreted | 2.3
Dr. Alan Wu | UCSF Toxicology Lab. June 19, 2018. | The "Time of Flight" device can successfully determine the molecular formula of any compound | Many compounds share the same molecular formula and knowing which compound is found in the patient is left open to physician's opinion | A device that can determine the bond structure of a compound, given the molecular formula | 2.2
Dr. Alan Wu | UCSF Toxicology Lab. June 19, 2018. | There is currently a large amount of information being recorded digitally | Patient records must be kept safe and confidential, even while being easy to access to healthcare professionals | A device that ensures that patient records remain safe and confidential, and not accessed by anyone other the patient's healthcare professional | 2.1
Dr. Alan Wu | UCSF Toxicology Lab. June 19, 2018. | Many diagnostic devices cost a lot more than the gold standard test | Medical professionals will not adopt new technologies if it is more affordable to simply continue using the tools they have been using | A device that can be used for standard blood tests that costs less than the central lab fee | 1.7

## UCSF Gastrointestinal Surgery
Client | Location & Date | Observation | Problem | Primary Need | Score (5 = most important)
Dr. Jonathan Carter | UCSF Gastrointestinal Surgery. June 12, 19, 2018. | The resident remembered to take some extra suturing thread out of the patient. | There was no system to document extra suturing thread inside of the patient, and the removal of such materials was contingent on the physician/resident remembering to do so. | A device/system that ensures all extraneous material is removed from the surgery patient. | 4.5
Dr. Jonathan Carter | UCSF Gastrointestinal Surgery. June 12, 19, 2018. | The da Vinci machine had to adjusted several times by the resident so the mechanical arms didn't bump into each other | The surgical system had to be adjusted several times, lengthening the surgery and leading to higher overall costs | A device that shortens or eliminates the time needed for instrument adjustments during surgery | 4
Dr. Jonathan Carter | UCSF Gastrointestinal Surgery. June 12, 19, 2018. | Some anatomical structures within the abdominal cavity are hard to distinguish without magnification | Inexperienced surgeons might not be able to distinguish important blood vessels | A device or system that allows training surgeons to distinguish between blood vessels | 4
Dr. Jonathan Carter | UCSF Gastrointestinal Surgery. June 12, 19, 2018. | The nurse has to count all the instruments before and after the surgery | There's a better way to utilize the nurse's time. | A system that automatically tracks the number of instruments before and after the surgery | 4
Dr. Jonathan Carter | UCSF Gastrointestinal Surgery. June 12, 19, 2018. | The surgeon explained that certain body parts were present in a specific location but were not visible or were very difficult to see, such as the vas deferens | It is possible to accidentally cut a body part because of poor visualization, especially by fellows who are still gaining experience | A method to better visualize parts in the body that the surgeon or fellow must be careful not to injure | 4
Dr. Jonathan Carter | UCSF Gastrointestinal Surgery. June 12, 19, 2018. | The surgeon's legs were sore after 3/4 of the da Vinci-assisted surgery (after about 1 hour, 30 minutes) | Physical discomfort to the surgeon is a distraction that may lead to lower-quality work | A device that allows the surgeon to comfortably perform surgery | 3.6
Dr. Jonathan Carter | UCSF Gastrointestinal Surgery. June 12, 19, 2018. | The surgeon had to wrap the mesh very tightly in order to insert it through the small incisions | This took a considerable amount of time and required consistent adjusting and reinsertion | A device that allows for easy insertion of mesh during laparoscopic surgery | 3.55
Dr. Jonathan Carter | UCSF Gastrointestinal Surgery. June 12, 19, 2018. | Certain retractors can only accommodate specific incision-sizes | There exist situations where the current retractors are not ideal for retracting tissues | A retracting device that can accommodate any size incision | 3.4
Dr. Jonathan Carter | UCSF Gastrointestinal Surgery. June 12, 19, 2018. | The surgeons took out the laparoscope to wipe the smoggy camera | The main instrument used to perform the surgery had to be removed and wiped in order to ensure adequate visualization of the tissue. | A device that allows for continuous visualization of the patient's physiology during surgery | 3.35
Dr. Jonathan Carter | UCSF Gastrointestinal Surgery. June 12, 19, 2018. | The mesh sutured inside the body to cover the hole where the hernia is known to shrink over time | The shrinking mesh could cause complications in the future by tugging on tissue, making it vulnerable to injury | A supporting material for hernia repair that remains the same size over time | 3.3
Dr. Jonathan Carter | UCSF Gastrointestinal Surgery. June 12, 19, 2018. | The surgeons used magnifying glasses attached to the goggles during the open surgery | As surgeons grow older, they might need special equipment to assist them during open surgeries that demand good visions | A way to assist surgeons who don't have perfect vision with visualizing interested area of operation during open surgery | 3.25
Dr. Jonathan Carter | UCSF Gastrointestinal Surgery. June 12, 19, 2018. | Sometimes, the surgeon loses the sutures/suturing equipment within the body before using them. Time is wasted looking for the sutures | Time (and money) is wasted when surgeons lose sutures/suturing equipment in the body | A device that permits surgeons to be aware of exact location of sutures at all times | 3.2
Dr. Jonathan Carter | UCSF Gastrointestinal Surgery. June 12, 19, 2018. | The sutures used to keep the mesh (for hernia) in place had memory to them. In other words, they already had a preformed inclination towards coiling that Dr. Carter had to work against. | It was more work for the physician to manipulate the suturing thread into the desired shape | Suturing thread is easily manipulated | 3.2
Dr. Jonathan Carter | UCSF Gastrointestinal Surgery. June 12, 19, 2018. | The surgeons want to cut out as little fat as possible, because fat protects underlying nerves from damage. | It is sometimes necessary to cut out fat tissue in order to see or reach the tissue underneath the fat tissue. | A device that allows for better visualization of the tissue underneath fat | 3.05
Dr. Jonathan Carter | UCSF Gastrointestinal Surgery. June 12, 19, 2018. | There were many people around the patient, including the surgeon, nurse, resident, and medical student | It is difficult to maneuver around the patient or see the patient for other people in the room | A device or system that allows multiple people access to see the patient | 2.9
Dr. Jonathan Carter | UCSF Gastrointestinal Surgery. June 12, 19, 2018. | The removable "mesh stabilizer" (for hernia) slightly obstructed the suturing process - the surgeon had to push it constantly to the side with one of his instruments | The removable mesh stabilizer, which helps to keep the mesh's shape, hampered the physician's ability to suture the mesh to the abdominal wall | A device that can stabilize the mesh in a hernia repair while not interfering with the surgery procedure | 2.85
Dr. Jonathan Carter | UCSF Gastrointestinal Surgery. June 12, 19, 2018. | There's no way of knowing the pathogen level after sterilizing the surface. | Many complications after surgeries are caused by infection. | A device that can determine whether there is a pathogen present on surfaces in the operating room | 2.85
Dr. Jonathan Carter | UCSF Gastrointestinal Surgery. June 12, 19, 2018. | The surgeon has to spend time on training the resident, which slows down the whole surgery process. | Slower surgeries are more expensive and result in longer patient exposure | A device or method to allow residents to perfect their surgical skills without interrupting the flow of surgery | 2.85
Dr. Jonathan Carter | UCSF Gastrointestinal Surgery. June 12, 19, 2018. | The anesthesiologist was in the room for the entire surgery | There is a hospital-wide shortage of trained anesthesiologists - spending time on one surgery precludes other surgeries from happening | A device that allows for remote monitoring of the patient's anesthesia levels | 2.8
Dr. Jonathan Carter | UCSF Gastrointestinal Surgery. June 12, 19, 2018. | Both the suturing thread and the camera were inserted into the same cannula, which led to tangling | The camera and suturing thread become tangled, increasing the length of the surgery and risking the breaking of sutures. | A device that allows the camera and suturing thread to be inserted into the patient without tangling | 2.7
Dr. Jonathan Carter | UCSF Gastrointestinal Surgery. June 12, 19, 2018. | A large portion of a hernia repair surgery is spend excising fat from the patient's abdominal wall | Lengthy surgeries result in higher expenses, fewer patients that can be seen per day, and a higher probability for complication during the surgery | A device that allows surgeons to excise fat quickly from the abdominal cavity | 2.7
Dr. Jonathan Carter | UCSF Gastrointestinal Surgery. June 12, 19, 2018. | The stools for shorter surgeons to reach a certain height that is more comfortable for them to operate are fixed in height. | It is dangerous when surgeons have to stack up stools to reach a certain height. | A device that allows surgeons to operate while seated, that can accommodate surgeons of varying heights | 2.7
Dr. Jonathan Carter | UCSF Gastrointestinal Surgery. June 12, 19, 2018. | The plastic protection on Da Vinci's robotic arms is loose and sometimes falls off the machine | The raw arms (without plastic) are not guaranteed to be sterilized and might be a potential source of infection for a patient | A device that ensures the sterility of the Da Vinci robot's arms throughout the surgery | 2.65
Dr. Jonathan Carter | UCSF Gastrointestinal Surgery. June 12, 19, 2018. | Visceral fat gets in the way of accessing the hernia | Accessing the hernia took a large portion of the surgeon's time, which is very valuable and expensive | A device or method that allows the surgeon to visualize and navigate around fat surrounding the target area | 2.55
Dr. Jonathan Carter | UCSF Gastrointestinal Surgery. June 12, 19, 2018. | While excising the patient's tissue with a cauterizing instrument, smoke and small flecks of charred tissue blew across the camera's view. The patient also had to be "vented" several times to allow smoke out of her abdominal cavity. | The camera's seeing ability was slightly impaired by the cauterization method. | A device that allows the cauterization of tissue while still maintaining high quality video footage of the procedure. | 2.55
Dr. Jonathan Carter | UCSF Gastrointestinal Surgery. June 12, 19, 2018. | The gall bladder had to be put in a bag and then pulled out by using only force to get it through the narrow opening | The removal of the gall bladder took a considerable amount of physical force from the surgeon and some stretching of the patient's skin | A device that allows for removal of the gall bladder with minimal physical force | 2.45
Dr. Jonathan Carter | UCSF Gastrointestinal Surgery. June 12, 19, 2018. | The surgeons need help when tying their scrubs. | Wearing scrubs should be an easy task that only requires one person to finish. | Protective sanitary clothing that can be adjusted individually by surgeons and staff | 2.35
Dr. Jonathan Carter | UCSF Gastrointestinal Surgery. June 12, 19, 2018. | Dr. Carter mentioned that there were no pressure-based sensors in the da Vinci System | The doctor must rely on visual clues rather than more intuitive pressure-based clues while performing surgeries | A device that helps physicians to better understand the instrument-derived pressures the patient feels. | 2.15
Dr. Jonathan Carter | UCSF Gastrointestinal Surgery. June 12, 19, 2018. | Sometimes when suturing, the tissue itself breaks | Physicians are not able to determine when a tissue is too thin to suture, resulting in extra tissue breakage | A device/method that helps physicians to decide when a tissue is too thin to suture versus when a tissue is thick enough to support sutures | 2.15
Dr. Jonathan Carter | UCSF Gastrointestinal Surgery. June 12, 19, 2018. | A patient has to be transferred from a gurney to operating table before and after surgery | Transferring patient takes around 5 people and it's waste of effort and error-prone | A system or device that allows for smooth and fast transfer of the patient from the gurney to operating table | 2
Dr. Jonathan Carter | UCSF Gastrointestinal Surgery. June 12, 19, 2018. | Dr. Carter mentioned that he often broke sutures when first learning on the da Vinci, because he could not tell how much force he was using with the robot arms to pull the suture. | There is a large learning curve for physicians to understand how much force to apply when suturing. | A device that helps physicians to apply the right amount of force when suturing | 1.8
Dr. Jonathan Carter | UCSF Gastrointestinal Surgery. June 12, 19, 2018. | The physician approximated the size of the mesh (for hernia) to be cut by applying pressure to the outside of the patient's abdomen, and looking for where the underside of the abdominal wall bulged out. | The standard to measuring which size mesh to insert into the patient is inaccurate, and can make suturing the mesh into the abdominal more difficult and/or less effective | A device that can determine the correct size mesh necessary for a patient | 1.8

## SFGH Ward 86 (HIV ward)
Client | Location & Date | Observation | Problem | Primary Need | Score (5 = most important)
Dr. Susa Coffey | SFGH Ward 86 (HIV Clinic). June 22, 2018. | The stigma of HIV patients still exists in sub-Saharan Africa. | The stigma thwart potential patients from getting help. | A device or program that educates the tribe people the correct knowledge about HIV patients and teaches them the appropriate mindset to interact with HIV patients. | 3.75
Dr. Susa Coffey | SFGH Ward 86 (HIV Clinic). June 22, 2018. | Individuals can become re-infected many times because of malaria strain variability | Malaria can (1) kill infected individuals, (2) result in lost productivity and livelihood | A device that protects individuals from infection or re-infection with malaria | 3.65
Dr. Susa Coffey | SFGH Ward 86 (HIV Clinic). June 22, 2018. | The cost of point-of-care testing and follow-up treatments make universal testing and treatment in African countries unsustainable | Although the diagnosis and treatment methods are very effective, their unsustainability means they are not as widely used, and will not benefit many infected individuals | A device that allows the inexpensive diagnosis and treatment of HIV in African countries | 3.6
Dr. Susa Coffey | SFGH Ward 86 (HIV Clinic). June 22, 2018. | There do not exist widely-used preventative measures for malaria | There do not exist widely-used preventative measures for malaria | A device/therapy that protects individuals from contracting malaria | 3.6
Dr. Susa Coffey | SFGH Ward 86 (HIV Clinic). June 22, 2018. | The current treatment for HIV must be taken daily | Home-insecure patients are less likely to adhere to their course of HIV treatment | A device/treatment that allows home-insecure HIV-infected individuals to consistently receive their treatment | 3.55
Dr. Susa Coffey | SFGH Ward 86 (HIV Clinic). June 22, 2018. | PrEP is expensive for those without insurance coverage (or those who do not live in cities that subsidize or cover the cost) | Those who cannot afford the medication are more vulnerable to HIV infection | A device/treatment that allows the inexpensive treatment of low-income, uninsured individuals with a high risk for contracting HIV | 3.55
Dr. Susa Coffey | SFGH Ward 86 (HIV Clinic). June 22, 2018. | Approximately one third of the total homeless population is mentally ill. | It is hard for medical professionals to provide help to homeless people who are also mentally ill. | A system that tracks homeless people's mental health and provide help if necessary | 3.55
Dr. Susa Coffey | SFGH Ward 86 (HIV Clinic). June 22, 2018. | The current method for the entomological inoculation rate of malaria involves: allowing mosquitos to land on one's legs, and then to suck them into a collection tube with a specialized straw | The current method involves discomfort, and a degree of uncertainty in that only mosquitos in a small area of space will be tested for malaria | A device that accurately, conveniently measures (or aids in measuring) the entomological inoculation rate of malaria | 3.5
Dr. Susa Coffey | SFGH Ward 86 (HIV Clinic). June 22, 2018. | Many people are unaware they have HIV because HIV can be asymptomatic for long periods of time. | HIV will continue to be spread among populations for people who are not aware of their risk of HIV or do not get tested for it. | A system that makes it easier to spread awareness and especially targets the patients with higher risk of HIV. | 3.45
Dr. Susa Coffey | SFGH Ward 86 (HIV Clinic). June 22, 2018. | Some people who get malaria do not have obvious symptoms of disease | Those people can unknowingly spread malaria to the other people | A method to efficiently and cost effectively test everybody in a community for malaria | 3.4
Dr. Susa Coffey | SFGH Ward 86 (HIV Clinic). June 22, 2018. | During HIV testing within a certain community, physicians used fingerprints from census data and fingerprinted everybody who got tested in order to determine who was not getting tested | Fingerprint matching is only 98.6% accurate, timely, and expensive. | A system or device that is able to track who did and did not receive a diagnostic test within a specific community | 3.35
Dr. Susa Coffey | SFGH Ward 86 (HIV Clinic). June 22, 2018. | PrEP, a preventative pill for HIV, must be taken roughly every day to be effective | Many patients do not want to (or forget to) take PrEP every day, leading to a large number of people who stop taking the medication after treatment | An HIV-preventative device or therapy that allows at-risk individuals flexibility | 3.35
Dr. Susa Coffey | SFGH Ward 86 (HIV Clinic). June 22, 2018. | Physicians and epidemiologists do not have a way to track previous, resolved malaria infections | Scientists are not able to use data about previous malaria infections to map infection patterns and predict future outbreaks | A device that allows physicians and epidemiologists to map malaria infection patterns | 3.3
Dr. Susa Coffey | SFGH Ward 86 (HIV Clinic). June 22, 2018. | A home HIV-testing device is fairly expensive ($45 US dollars) | Low-income individuals who do not feel comfortable attending HIV testing clinics will not get tested (and subsequently, treated) for the disease | An inexpensive point-of-care testing device to help individuals self-diagnose their HIV | 3.3
Dr. Susa Coffey | SFGH Ward 86 (HIV Clinic). June 22, 2018. | HIV (a retrovirus) can incorporate itself into the genome to escape host responses and treatment methods | Once incorporated into the host cell's genome, latent HIV is very hard to detect in cells, and to eliminate | A device that excises the HIV retrovirus from infected cells' genomes | 3.3
Dr. Susa Coffey | SFGH Ward 86 (HIV Clinic). June 22, 2018. | The SF ward 86 HIV clinic has difficulties providing patients with affordable housing information and available shelter information because there are not many available in the first place. | Homeless HIV patients are not as able to stick to their treatments | A system that effectively regulates all the shelters and lower-priced housing information so that homeless patients have access to them as well. | 3.25
Dr. Susa Coffey | SFGH Ward 86 (HIV Clinic). June 22, 2018. | The link between homelessness and mental illness is still unknown. | Effective treatment to prevent homeless people from becoming mentally-ill cannot be implemented if it has not been developed in the first place. | A program that encourage researchers to look into the link between homelessness and mental illness issues. | 3.15
Dr. Susa Coffey | SFGH Ward 86 (HIV Clinic). June 22, 2018. | Physician scientists do not currently have a way to increase malaria DNA and reduce human DNA during testing | Scientists have difficulty separating out DNA malaria from human DNA, making it difficult to use blood testing to accurately track malaria in a patient | A device that allows physician scientists to easily separate blood test results for malaria DNA and human DNA | 3.15
Dr. Susa Coffey | SFGH Ward 86 (HIV Clinic). June 22, 2018. | Circumcision reduces HIV infection by 50%. | The inner surface of the foreskin contains Langerhans' cells with HIV receptors, which is likely the point of viral entry for uncircumcised men. (https://www.ncbi.nlm.nih.gov/pmc/articles/PMC1127372/) | A method that blocks HIV receptors in Langerhans' cells that can be applied to the genitalia before intercourse. | 3.1
Dr. Susa Coffey | SFGH Ward 86 (HIV Clinic). June 22, 2018. | The current treatment for HIV must be taken daily | Patients who forget to take their medication or who lose their prescription may see increases in their viral loads | An effective HIV-treatment that allows patients flexibility in terms of how the drug is administered | 3.1
Dr. Susa Coffey | SFGH Ward 86 (HIV Clinic). June 22, 2018. | If stem cell therapy for HIV misses even a few infected cells, the infection can make a comeback | Existing stem-cell therapy technology does not fully eradicate HIV-infected cells, leading to reoccurrences of detectable viral loads | A HIV-treatment therapy that ensures all infected cells are eliminated | 3
Dr. Susa Coffey | SFGH Ward 86 (HIV Clinic). June 22, 2018. | One reason an HIV therapeutic vaccine is not currently available is that HIV viruses can "escape" the immune system by mutating readily | HIV readily mutates and can escape detection by the immune system, resulting in disease progression | A treatment that is less prone to HIV mutation in order to provide more-effective HIV therapy | 3
Dr. Susa Coffey | SFGH Ward 86 (HIV Clinic). June 22, 2018. | The ratio of latently infected CD4 cells to other cells in the body is so small that it is almost impossible to find these cells | The threshold of cells that causes HIV to activate again over time is unknown, so leaving any amount of infected cells can increase the person's risk of developing symptoms in the future | A device that is able to identify latently infected CD4 cells in the body at ratios of up to one in a billion | 2.85
Dr. Susa Coffey | SFGH Ward 86 (HIV Clinic). June 22, 2018. | Physicians must use different adjuvants in order to target specific areas of the body for HIV treatment involving CD-8 t-cells | Physicians must calibrate for each patient which combination of adjuvants would be most effective for that patient | A device that calibrates the amount and type of adjuvants to be used in HIV therapy that uses CD-8 t-cells to kill infected CD-4 t-cells | 2.8
Dr. Susa Coffey | SFGH Ward 86 (HIV Clinic). June 22, 2018. | There is, though rare, chronic side effects in small population of patients who take PrEP daily, such as inflammations | Existing medications have adverse side effect on certain patients | An HIV prevention strategy that prevents HIV from establishing infection inside the body without adverse side effects | 2.8
Dr. Susa Coffey | SFGH Ward 86 (HIV Clinic). June 22, 2018. | Areas that were treated with pesticides suffer fewer malaria outbreaks. These pesticides are not used universally because they are very expensive. | Poorer villages and cities are not able to easily eliminate malaria-carrying mosquitos, leading to more malaria outbreaks | An inexpensive method of killing large amounts of mosquitos that may be malaria carriers in order to curb malaria outbreaks in Africa | 2.7
Dr. Susa Coffey | SFGH Ward 86 (HIV Clinic). June 22, 2018. | Women need to take a tablet of PrEP every day to have sufficient protection for vaginal sex, whereas men can miss 2-3 doses of PrEP every week are still be sufficiently protected for receptive anal sex. | PrEP is less effective for women, and so condoms are still their primary method of protection, which has been shown to be only 75% effective due to condom or lubricant misuse. | A method that provides greater protection to women during vaginal sex. | 2.7
Dr. Susa Coffey | SFGH Ward 86 (HIV Clinic). June 22, 2018. | It took a lot of time and effort to census entire African communities in order to test all individuals for HIV | It is not sustainable and hard to keep track of the results over years. | A system that can census the whole population more efficiently and take less effort. | 2.55
Dr. Susa Coffey | SFGH Ward 86 (HIV Clinic). June 22, 2018. | It is nearly impossible for physician scientists to pinpoint the few latent HIV-infected cells following stem cell treatment | Latent infections may ultimately trigger another outbreak of the HIV infection | A device that permits physicians to determine any existing latently-infected cells in the body following stem cell treatment | 2.5
Dr. Susa Coffey | SFGH Ward 86 (HIV Clinic). June 22, 2018. | Latent HIV in the brain can be hard to treat because of difficulty of penetrating the blood brain barrier. | Infected cells in the brain that are not eliminated can perpetuate HIV infection and prevent patients from being completely cured of the disease | A device or treatment that permits the removal of HIV-infected cells in the brain | 2.45
Dr. Susa Coffey | SFGH Ward 86 (HIV Clinic). June 22, 2018. | Many homeless people inject drugs intravenously and may share or reuse needles. | This practice is responsible for 13% of HIV diagnoses in the US. | A system that prevents homeless people from injecting drugs in the first place. | 2.4
Dr. Susa Coffey | SFGH Ward 86 (HIV Clinic). June 22, 2018. | The one successfully "cured" patient was treated with specialized CCR5-nonfunctioning stem cells. The process for making these cells is too expensive and difficult to use as a general treatment option. | Nearly all patients with HIV will not be "cured" in their lifetime, because access to a highly-effective treatment is limited by cost and expertise. | A device that allows the cheap creation of mutated CCR5 stem cells to be used in therapy for HIV | 2.1
Dr. Susa Coffey | SFGH Ward 86 (HIV Clinic). June 22, 2018. | The current treatment for HIV must be taken daily | Taking an HIV medication daily is a constant reminder to the patient that they have a stigmatized condition | A way to minimizes the impact of HIV-related stigma during treatment | 2.1
Dr. Susa Coffey | SFGH Ward 86 (HIV Clinic). June 22, 2018. | Condoms are only about 75% effective at preventing HIV protection in MSM (men who have sex with men) anal sex cases | MSM individuals are not adequately protected from contracting HIV when a condom is their only method of protection (even though they may believe that a condom is ~100% effective) | An inexpensive, easily-attainable, convenient device/treatment that provides 100% (or close to 100%) protection against HIV for MSM anal sex cases | 2.05

## UCSF Liver Disease Clinic
Client | Location & Date | Observation | Problem | Primary Need | Score (5 = most important)
Dr. Danielle Brandman | UCSF Liver Disease Clinic. June 26, 2018. | Existing band ligator devices require extensive human maneuver to function but the features on the device are primitive: the knots are hard to stay in, cap might get loose, etc. | The clinical outcomes for patients might be compensated due to the limitation of the device | A device that can accurately and efficiently ligate targeted regions | 3.7
Dr. Danielle Brandman | UCSF Liver Disease Clinic. June 26, 2018. | Current endoscopic variceal ligator including Cook 6 Shooter and Boston Scientific Speedband Superview Super 7 are mechanically controlled, meaning they are more prone to errors | Physicians might spend more time than necessary to treat patients | A device that allows physician to ligate patients without requiring excess time and mechanical effort | 3.7
Dr. Danielle Brandman | UCSF Liver Disease Clinic. June 26, 2018. | Living donors must go through open surgery in order to donate a liver | The invasive and injurious nature of open liver surgery may be a detriment to potential liver donors | A device or procedure for living donor open transplant surgery that is minimally damaging to patients | 3.55
Dr. Danielle Brandman | UCSF Liver Disease Clinic. June 26, 2018. | Non-alcoholic Fatty Liver Disease (NAFLD) is the most common form of liver disease in the United States. Its incidence has increased in the past several years in the U.S. because of the growing population of obese individuals. | Obese patients have a high likelihood of developing non-alcoholic fatty liver disease | A device that can identify high-risk patients and help them to manage their lifestyles in order to avoid NAFLD, or to halt the progression of NAFLD following diagnosis | 3.5
Dr. Danielle Brandman | UCSF Liver Disease Clinic. June 26, 2018. | The current integrated systems for patient medical records lead to many messages being sent to the physician when they should go to either administrative or nursing staff | The physician spends extra time responding to these messages or forwarding them, which could have been spent on another patient or more urgent matter | A system that can accurately determine where a message or patient update needs to be forwarded to | 3.45
Dr. Danielle Brandman | UCSF Liver Disease Clinic. June 26, 2018. | It is difficult to identify patients with cirrhosis before a lot of damage has been done to the liver | Patients reach end-stage liver disease before they are diagnosed and begin to receive treatment | A device that can identify early-stage liver disease in patients | 3.4
Dr. Danielle Brandman | UCSF Liver Disease Clinic. June 26, 2018. | If physicians catch hepatic artery thrombosis (a life-threatening condition) within a week of transplant, a re-transplant can be considered. | Early diagnosis of hepatic artery thrombosis following liver transplant is essential for better treatment results and the preservation of a patient's life | A device that can detect or monitor for hepatic artery thrombosis following liver transplantation | 3.4
Dr. Danielle Brandman | UCSF Liver Disease Clinic. June 26, 2018. | Obese patients do not currently have any post-operative requirements following their liver transplants in order to prevent the onset of liver disease | Obese patients are not given the tools they need in order for their liver transplants to be successful, for them to suffer fewer complications, and to significantly increase their quality of life | A device that helps post-operative obese individuals to avoid future liver disease by helping with recovery and lifestyle changes | 3.3
Dr. Danielle Brandman | UCSF Liver Disease Clinic. June 26, 2018. | Some patients do not exhibit symptoms of liver disease until after a major operation (ex. gallbladder removal), rapidly declining in health post-operation | Patients who suffer from liver disease but do not have many symptoms have higher risk following basic surgery procedures | A device that helps physicians and surgeons to predict a patient's liver disease status before a major operation | 3.25
Dr. Danielle Brandman | UCSF Liver Disease Clinic. June 26, 2018. | The current messaging system requires an employee to sort emails and direct messages to various locations | Manual sorting of email messages is both inefficient and error-prone | A system that can automate the process of message distribution to different stakeholders | 3.15
Dr. Danielle Brandman | UCSF Liver Disease Clinic. June 26, 2018. | Many patients have large, unhealthy weight gains following liver transplantation | Patients who suffer who gain an unhealthy amount of weight are less-likely to make a full recovery, and to return to their pre-liver-disease quality of life | A device that helps liver transplant patients maintain healthy weights during and after the recovery process | 3.15
Dr. Danielle Brandman | UCSF Liver Disease Clinic. June 26, 2018. | There is no way to non-invasively reverse liver fibrosis and remove scar tissue that damages liver function | Patients must undergo invasive liver transplantation (or are unable to acquire a liver and remain sick) because there is no way to treat the main symptom of their liver disease | A device that allows physicians to excise fibrotic tissue or reverse its effects in order to lower a patient's need for a liver transplant | 3.15
Dr. Danielle Brandman | UCSF Liver Disease Clinic. June 26, 2018. | Updating of the MELD score for patients who live far from the transplant center has to be done by the center and often depends on the patient contacting them directly to inform them they had a new test | If a patient is quite sick even a small delay may affect where they are found on the transplant list, which can be life threatening | A system that automatically updates MELD scores with the influx of new patient data | 3.1
Dr. Danielle Brandman | UCSF Liver Disease Clinic. June 26, 2018. | The electronic medical health record inundates physicians with an excessive amount of information | The poor management of patient data through the electronic medical health record wastes physicians' time and prevents them from helping more patients | A device that can store patient information and present only the relevant information to each stakeholder | 2.95
Dr. Danielle Brandman | UCSF Liver Disease Clinic. June 26, 2018. | In many cases, physicians are not able to access all of the varicose veins when banding, causing the need for return visit for re-banding | Patients must travel to the UCSF center each time they require banding, and incur the additional costs of the banding instrument, supplies, physician time, and hospital facilities | A device that allows physicians to band all varicose veins at once to prevent return visits to the hospital | 2.9
Dr. Danielle Brandman | UCSF Liver Disease Clinic. June 26, 2018. | Between 2001-2010, more than 1500 people died from acute liver failure due to accidental Tylenol overdose. | People who don't know or ignore the guidelines on taking medicines that contain acetaminophen are at risk of severe liver damage or even death. | A system to inform and remind people about guidelines on taking drugs that are known to cause liver complications | 2.85
Dr. Danielle Brandman | UCSF Liver Disease Clinic. June 26, 2018. | Patients revisit the hospital multiple times for endoscopic variceal ligation, or liver banding (in order to prevent variceal bleeding) | Currently, there is no reliable treatment that solves underlying problems related to variceal bleeding | An effective treatment to reduce or eliminate variceal bleeding | 2.85
Dr. Danielle Brandman | UCSF Liver Disease Clinic. June 26, 2018. | There is a shortage of livers - not everyone on the transplant list receives an organ | Patients with liver disease are not able to receive organs before they become very sick (or perhaps even before they die) | A device that substitutes a liver for those patients who are not able to receive human livers | 2.8
Dr. Danielle Brandman | UCSF Liver Disease Clinic. June 26, 2018. | Once a patient becomes very sick (has a high MELD score), they are reliant on a liver transplant to survive (unlike, for example, kidney disease, where dialysis can help to temporarily prolong a patient's life) | Having to reach this point puts the patient at risk of death due to the long waiting time and severity of their condition | A device that allows patients to survive until they can receive a liver transplant | 2.8
Dr. Danielle Brandman | UCSF Liver Disease Clinic. June 26, 2018. | The healthy liver resected from living donor can only be used on one patient | One possible way of relieving the current liver donor shortage situation is to transplant one liver to multiple recipients. | A device or technique that allows one liver donor to provide liver transplants for multiple patients | 2.8
Dr. Danielle Brandman | UCSF Liver Disease Clinic. June 26, 2018. | The current liver biopsy tool makes a really loud noise that often startles the physician | If the physician is startled upon obtaining a liver sample, they may make an abrupt movement and cause damage the to the liver or surrounding tissue | A biopsy device that indicates the successful collection of a liver sample without loud noises | 2.75
Dr. Danielle Brandman | UCSF Liver Disease Clinic. June 26, 2018. | Patients from less populated areas (including the Central Valley in California) do not have adequate access to transplant centers | Patients from rural areas must travel large distances (and spend more time away from work) in order to go to a transplant clinic | A device that allows patients in rural areas to connect with a transplant clinic and/or hepatologist with less travel time | 2.75
Dr. Danielle Brandman | UCSF Liver Disease Clinic. June 26, 2018. | Among all patients who require organ transplants, patients who need liver transplants are the second largest group. | Many people ignore their personal health while they are healthy and end up needing a liver transplant in order to survive. | A system or device that aids in the prevention of liver and cardiovascular conditions | 2.75
Dr. Danielle Brandman | UCSF Liver Disease Clinic. June 26, 2018. | An estimate of 460 people have suffered from liver failure due to mushroom poisoning | People often confused the death cap mushroom with edible mushrooms. | A system or device that helps prevent poisoning from plants and mushrooms | 2.75
Dr. Danielle Brandman | UCSF Liver Disease Clinic. June 26, 2018. | Currently, there is no way to know what volume of liquid is being retained by a patient | BMI is one of the measurements hepatologists use to determine whether a patient is a candidate for a liver transplant. If this measurement is inaccurate, a patient could lose the opportunity of receiving a liver | A device that can measure the volume of liquid being retained in a patient's body due to liver failure | 2.7
Dr. Danielle Brandman | UCSF Liver Disease Clinic. June 26, 2018. | Physicians have no way to determine exactly when a patient with cirrhosis started to aquire scar tissue in their liver | The physician may believe they have more time to treat cirrhosis and choose a different course of treatment based on an inaccurate approximation | A device that can determine the beginning of the current stage of cirrhosis in a patient | 2.7
Dr. Danielle Brandman | UCSF Liver Disease Clinic. June 26, 2018. | The evaluation of suitable liver transplant patients does not include substances other than alcohol | People who are addicted to substances other than alcohol may not be suitable liver-transplant candidates | A device or process that objectively takes into account multiple substance abuse problems when deciding whether a patient is well-suited to a liver transplant | 2.7
Dr. Danielle Brandman | UCSF Liver Disease Clinic. June 26, 2018. | Physicians currently use an "eyeball test" to predict the complications excess fat can cause during surgery | Unforeseen challenges during surgery can affect the outcome of a liver transplant and may have changed MELD score of a patient, thus affecting where they were on the transplant list | A device that can visualize the amount and location of excess fat in the liver and surrounding area | 2.65
Dr. Danielle Brandman | UCSF Liver Disease Clinic. June 26, 2018. | Patients with low BMIs (less than 18.5) do worse than overweight patients post-transplant | Patients with low BMIs may not recover to a healthy extent following liver transplantation | A device that helps patients with low BMI have an easier and faster recovery | 2.65
Dr. Danielle Brandman | UCSF Liver Disease Clinic. June 26, 2018. | Natural history fibrosis studies are inherently inaccurate, because they begin when a patient has already suffered from liver disease for a certain amount of time | An understanding of liver disease as well as new, preventative treatment efforts do not reflect accurate knowledge about the progression of liver disease | A device that allows physicians to monitor liver disease from very early stages (or even before liver disease has begun) in order to better track progression of the disease | 2.6
Dr. Danielle Brandman | UCSF Liver Disease Clinic. June 26, 2018. | There is no way of knowing the volume of liquid within blood vessels such as the portal vein | The increase in fluid inside the portal vein can lead to abdominal ascites | A device that can determine the volume of liquid in patient's blood vessels | 2.55
Dr. Danielle Brandman | UCSF Liver Disease Clinic. June 26, 2018. | Some liver disease patients have to do paracentesis weekly to relieve their abdominal pressure from ascites. | Puncturing holes on the patient weekly is not a pleasant experience for the patient. | A device that actively and noninvasively removes ascites. | 2.5
Dr. Danielle Brandman | UCSF Liver Disease Clinic. June 26, 2018. | Following transplant, the post-operative personnel is well-equipped to handle liver-related complications, but not complications related to other organs | Patients do not receive adequate care for their non-liver related complications following transplant surgery | A device that helps patients handle their non-liver related complications following transplant surgery | 2.45
Dr. Danielle Brandman | UCSF Liver Disease Clinic. June 26, 2018. | Racial and ethnic disparities exist in access to liver transplantation | Patients of color might not receive adequate treatments when they desperately need it due to socioeconomic reasons | A system that enables each patient to receive adequate care regardless of their socioeconomic status | 2.4
Dr. Danielle Brandman | UCSF Liver Disease Clinic. June 26, 2018. | A large team of doctors and nurses are required to treat every patient | Because there are many specialized physicians required for each patient, hospital treatment rooms can get crowded | A device that allows fewer doctors to be present in patient rooms while still meeting a high standard of treatment | 1.85

## CHORI
Client | Location & Date | Observation | Problem | Primary Need | Score (5 = most important)
Marcela Weyhmiller, PhD (Director of the Iron Overload Program) | Children's Hospital Oakland Research Institute. July 9, 2018. | From the age of 20, patients with thalassemia have higher iron concentrations when tested because of the decrease in patient compliance. | High iron concentration puts patients at risk of several serious complications. | A device that increases patient compliance and allows patients to stick with the drug schedule | 3.9
Marcela Weyhmiller, PhD (Director of the Iron Overload Program) | Children's Hospital Oakland Research Institute. July 9, 2018. | Serum ferratin levels are commonly used to monitor iron (using a blood test), but patients worldwide may not have the funds or access to clinics in order to monitor their levels when recommended | Many individuals around the world are not able to monitor and treat their iron-related conditions, leading to the worsening of symptoms and premature death | A low-cost device that allows individuals who do not have access to medical service centers or clinics to monitor their blood-related conditions | 3.85
Marcela Weyhmiller, PhD (Director of the Iron Overload Program) | Children's Hospital Oakland Research Institute. July 9, 2018. | Individuals with hemochromatosis are often not diagnosed until later in life, after damage has already been inflicted on major organs (ex. liver) | Patients with hemochromatosis do not receive care to mediate their symptoms and organ damage until the disease notably progresses | A device that allows physicians to diagnose individuals with hemochromatosis before the diseases' symptoms are noticeable | 3.7
Marcela Weyhmiller, PhD (Director of the Iron Overload Program) | Children's Hospital Oakland Research Institute. July 9, 2018. | Contrary to popular belief, individuals can exhibit increased susceptibility to osteoporosis when they are young | Individuals who are not aware of their increased susceptibility to osteoporosis will not take measures to prevent its onset later in life | A device that allows individuals to easily test for markers of osteoporosis while preventable measures can still be taken | 3.65
Marcela Weyhmiller, PhD (Director of the Iron Overload Program) | Children's Hospital Oakland Research Institute. July 9, 2018. | SQUID can only be used to detect directly iron level in liver but not any other organs | The providers obtain limited information from patients and have to order additional testing, which increases the cost of care | A way to accurately assess iron level of different organs in one procedure | 3.35
Marcela Weyhmiller, PhD (Director of the Iron Overload Program) | Children's Hospital Oakland Research Institute. July 9, 2018. | Desferal is an injectable drug used to treat iron overload, and is used in many cases instead of tablets or solutions because of their side effects | For children who are prescribed Desferal (or those with a fear of needles), compliance in taking the iron overload medication may be a problem. Especially for children, parents may have to spend time and energy forcing their kids to take the medicine. | A device or method to deliver Desferal without the pain associated with needles with minimal side effects | 3.35
Marcela Weyhmiller, PhD (Director of the Iron Overload Program) | Children's Hospital Oakland Research Institute. July 9, 2018. | It is hard to tell whether MRI or the SQUID is more effective for measuring iron concentration. The data obtained by MRI does not necessarily agree with the data obtained by SQUID. | Although MRI is the golden standard for measuring iron concentration for clinical diagnostic purposes, the SQUIOD is the gold standard for both research purposes. | A standard way of measuring iron concentration on which all researchers can agree | 3.3
Marcela Weyhmiller, PhD (Director of the Iron Overload Program) | Children's Hospital Oakland Research Institute. July 9, 2018. | The SQUID must be calibrated for each individual patient | Individual calibration adds time to the preparation for this scan, which limits the amount of patients seen in any given day | A system or feature that allows the SQUID to automatically calibrate to the patient's anatomy and physiology | 3.25
Marcela Weyhmiller, PhD (Director of the Iron Overload Program) | Children's Hospital Oakland Research Institute. July 9, 2018. | There is accumulating evidence that exceedingly low magnitude mechanical signals, delivered using low intensity vibration may be a safe and effective strategy for the treatment of osteoporosis in adults; however, such effects haven't been demonstrated in children because of lack of adherence | Children are not attractive to the vibration platform and are unlikely to adhere to the treatment | A bone-density improvement device that gives patients satisfaction and comfort during each session | 3.1
Marcela Weyhmiller, PhD (Director of the Iron Overload Program) | Children's Hospital Oakland Research Institute. July 9, 2018. | To use the SQUID, staff must know a patient's skin-to-liver distance | To determine a patient's skin-to-liver distance, an additional test is required | A device or feature that is able to measure the skin to liver distance during the SQUID exam time | 2.95
Marcela Weyhmiller, PhD (Director of the Iron Overload Program) | Because iron appears as different shades in MRI images, this technique can only detect up to a certain concentration of iron in the liver | Because iron appears dark in MRI images, this technique can only detect up to a certain concentration of iron in the liver | Some patients may have a very dangerous level of iron in their liver, but the physician does not know how high their levels are after the MRI threshold | A device or system that is able to measure unlimited amounts of iron in the liver | 2.95
Marcela Weyhmiller, PhD (Director of the Iron Overload Program) | Children's Hospital Oakland Research Institute. July 9, 2018. | Patients with thalassemia, sickle cell disease, etc., are reliant on blood donors in order to survive | Patients that do not have access to blood banks or who have rare blood types are not able to be treated for their blood-related conditions, and face higher mortality rates | A device that allows patients with blood-related conditions who do not have easy access to donor blood stores to be treated for their diseases | 2.95
Marcela Weyhmiller, PhD (Director of the Iron Overload Program) | Children's Hospital Oakland Research Institute. July 9, 2018. | Patients with thalassemia, sickle cell disease, etc. must visit the doctor on a very regular basis (~35 routine visits per year) | Routine visits to the doctor result in more missed work days and increased costs for the patient | A device that allows patients with blood-related conditions to receive treatment and monitor their levels in as few physician visits as possible | 2.9
Marcela Weyhmiller, PhD (Director of the Iron Overload Program) | Children's Hospital Oakland Research Institute. July 9, 2018. | A patient must be oriented in a very specific posture for the SQUID to give reliable results | It is hard to measure the iron concentration of children who are not cooperative. | A device that accurately measures iron concentration for patients in any posture. | 2.9
Marcela Weyhmiller, PhD (Director of the Iron Overload Program) | Children's Hospital Oakland Research Institute. July 9, 2018. | Elderly patients felt discomfort during Bone Densitometry procedure using the DXA machine because of feelings of disorientations | DXA rotates and moves during the procedure, causing disorientation | A device to accurately assess bone density of patients with minimal discomfort | 2.85
Marcela Weyhmiller, PhD (Director of the Iron Overload Program) | Children's Hospital Oakland Research Institute. July 9, 2018. | Patients have to wait for months after MRI iron assessment before accurate results can be assessed on the SQUID | SQUID can detect microtesla MRI in the presence of metal | A way to assess iron level of a patient without distortion in the presence of metallic implants after MRI iron assessment | 2.85
Marcela Weyhmiller, PhD (Director of the Iron Overload Program) | Children's Hospital Oakland Research Institute. July 9, 2018. | SQUID is not FDA-approved | insurance does not cover the cost of using SQUID for patients. | A device that is insurance-company-acknowledged and can accurately measure the iron concentration. | 2.8
Marcela Weyhmiller, PhD (Director of the Iron Overload Program) | Children's Hospital Oakland Research Institute. July 9, 2018. | Body fat can strongly affect the quality of SQUID data | Large amounts of body fat can make SQUID data unreliable and can lead to it being discarded | A device or system that can account for visceral fat during data collection | 2.8
Marcela Weyhmiller, PhD (Director of the Iron Overload Program) | Children's Hospital Oakland Research Institute. July 9, 2018. | There are different sizes of sensors. It is up to the person performing the SQUID test to determine which size best fits a patient | Because CHORI is a pediatric center, patients can vary from a toddler to a teenager who is the size of an adult | A device that can serve as a sensor for a patient of any given size | 2.8
Marcela Weyhmiller, PhD (Director of the Iron Overload Program) | Children's Hospital Oakland Research Institute. July 9, 2018. | A SQUID device is an extremely sensitive detector of magnetic fields and it can pick up signals from street traffic so no tests can be performed after 3:30pm | Environmental noise leads to the data being less accurate and patients having to wait longer periods of time for their test | A device or system that can eliminate or filter the environmental noise in the SQUID data | 2.75
Marcela Weyhmiller, PhD (Director of the Iron Overload Program) | Children's Hospital Oakland Research Institute. July 9, 2018. | MRI procedure can often take up to 45 minutes | Intubation for extended period of time causes patients, especially those with self-reported claustrophobia condition, anxiety and fear | A device that requires less screening time while abstracting needed information | 2.75
Marcela Weyhmiller, PhD (Director of the Iron Overload Program) | Children's Hospital Oakland Research Institute. July 9, 2018. | Patients with iron overload often have to use Desferal 5-7 nights a week | Such a high demand for patients makes it hard for them to stay up to date and lowers patient compliance | A treatment for iron overload that requires less time, effort and discomfort from the patient | 2.65
Marcela Weyhmiller, PhD (Director of the Iron Overload Program) | Children's Hospital Oakland Research Institute. July 9, 2018. | There are only three SQUIDs in the world, and only one in the U.S. | Most patients do not have access to SQUID | A way to allow patients to assess their hepatic iron level easily and affordably | 2.65
Marcela Weyhmiller, PhD (Director of the Iron Overload Program) | Children's Hospital Oakland Research Institute. July 9, 2018. | Rates of osteoporosis increase in women who have gone through menopause and have lower levels of estrogen in the body | Women who do not have high levels of estrogen tend to have increased bone-related conditions | A device that allows women who do not have adequate levels of estrogen to avoid contracting bone-related conditions | 2.65
Marcela Weyhmiller, PhD (Director of the Iron Overload Program) | Children's Hospital Oakland Research Institute. July 9, 2018. | Patients with thalassemia, sickle cell disease, etc. require a blood transfusion every 2-4 weeks | Patients must go through painful, lengthy procedures every few weeks in order to feel semi-well | A device that allows patients with blood-related conditions to receive treatment in an expedient manner that minimizes discomfort and pain | 2.6
Marcela Weyhmiller, PhD (Director of the Iron Overload Program) | Children's Hospital Oakland Research Institute. July 9, 2018. | MRI, the standard of care for determining iron levels in the liver, requires that young patients are sedated and intubated | Sedating and putting breath holds on young patients during MRI gives an increased risk for the patient | A device that allows MRI-quality images and does not require the use of sedation or intubation in young patients | 2.6
Marcela Weyhmiller, PhD (Director of the Iron Overload Program) | Children's Hospital Oakland Research Institute. July 9, 2018. | MRI cannot measure iron concentrations when they are too high or too low and SQUID cannot measure low levels of iron | Currently, no devices are ideal to measure low iron concentrations | A device that accurately measures iron concentration even if it is at a low concentration. | 2.5
Marcela Weyhmiller, PhD (Director of the Iron Overload Program) | Children's Hospital Oakland Research Institute. July 9, 2018. | In order for SQUID to produce accurate data, a lot of environment factors must be considered including the building design and the surrounding neighborhood. | The SQUID has too many environmental requirements to be used for clinical purposes | A device that can detect iron concentration accurately without being restricted to certain environments and building design. | 2.45
Marcela Weyhmiller, PhD (Director of the Iron Overload Program) | Children's Hospital Oakland Research Institute. July 9, 2018. | Liver volume is a useful biometric in determining iron concentration level | Currently, there's no way to obtain liver volume non invasively. | A device that measures liver volume non invasively. | 2.3
Marcela Weyhmiller, PhD (Director of the Iron Overload Program) | Children's Hospital Oakland Research Institute. July 9, 2018. | New generation Apple products stop working if left in the room with the SQUID for longer than an hour | If someone doesn't know or forgets, this can result in damaged property and unnecessary replacement costs | A device or system protects electronics in the room from being damaged | 2.25
Marcela Weyhmiller, PhD (Director of the Iron Overload Program) | Children's Hospital Oakland Research Institute. July 9, 2018. | The SQUID requires large amounts of helium to function properly, which is very expensive. It also requires regular upkeep (also expensive). | The SQUID is too expensive to upkeep for it to become a standard diagnostic machine | A way to effectively maintain SQUID at a lower cost | 2.25
Marcela Weyhmiller, PhD (Director of the Iron Overload Program) | Children's Hospital Oakland Research Institute. July 9, 2018. | A water bag is placed between the patient and the instrument during SQUID imaging in order to minimize background noise | The water bag is unwieldy and difficult to use, especially with children | A device that minimizes noise while imaging with the SQUID, while maintaining high levels of physician ease and patient comfort | 2.2
Marcela Weyhmiller, PhD (Director of the Iron Overload Program) | Children's Hospital Oakland Research Institute. July 9, 2018. | Currently, the provider can only use SQUID iron assessment in complement with other diagnosis | SQUID is not FDA-approved and is only used for clinical research; the device cannot get approved through 510K because of lack of similar existing device and because of the high cost of PMA | A way to get SQUID to be FDA approved | 2.15
Marcela Weyhmiller, PhD (Director of the Iron Overload Program) | Children's Hospital Oakland Research Institute. July 9, 2018. | The connection between liver iron concentration and cardiac iron concentration is unknown. | It is beneficial to patients if we understanding the physiological pathways of iron metabolism. | A program that encourages researchers to conduct research relating to iron metabolism pathways in human body. | 2.05
Marcela Weyhmiller, PhD (Director of the Iron Overload Program) | Children's Hospital Oakland Research Institute. July 9, 2018. | SQUID requires weekly liquid helium temperature regulation procedure in order to maintain and each procedure costs $1000 | Current imaging device requires extensive resources to maintain | A device that detect iron concentration accurately without extensive maintenance procedures | 1.95

## SF VA Epilepsy
Client | Location & Date | Observation | Problem | Primary Need | Score (5 = most important)
Dr. John Hixson | SF VA Epilepsy Center for Excellence. June 5, 2018. | In determining if a patient suffering from focal epilepsy is a candidate for surgery, it is often difficult to detect what area of the brain is causing epilepsy | For many individuals, surgery is not a viable treatment option because doctors are unable to determine what area of the brain causes their epilepsy. | A device that allows physicians to locate the specific area of the brain that is causing epilepsy | 4.15
Dr. John Hixson | SF VA Epilepsy Center for Excellence. June 5, 2018. | The majority of seizures are idiopathic | Physicians are unable to determine the underlying cause of a majority of focal seizures due to a lack of precise, high-resolution imaging and diagnostic techniques | A device or method to diagnose causes of focal seizures in epilepsy patients | 3.7
Dr. John Hixson | SF VA Epilepsy Center for Excellence. June 5, 2018. | EEG yields much "noisier" waves (theta waves, delta waves, K complexes, sleep spindles) when a patient is asleep | It will be harder for the nurse or physician to accurately determine if a patient experiences a seizure when the patient is asleep | A device that can accurately determine if a patient is experiencing a seizure even when asleep | 3.65
Dr. John Hixson | SF VA Epilepsy Center for Excellence. June 5, 2018. | Wearable devices are easily able to track seizures that contain motor-based symptoms (i.e. convulsions), but are not effective at picking up more subtle, passive symptoms | Patients that have passive symptoms during focal seizures are not able to accurately track the times and durations of their seizures | A device that allows patients with passive seizure symptoms to better track when seizures occur | 3.6
Dr. John Hixson | SF VA Epilepsy Center for Excellence. June 5, 2018. | Two treatments for epilepsy, RNS and VNS devices, require many trips to the hospital for set-up and monitoring | Patients must travel to the hospital frequently in order to make the most of the devices used for epilepsy treatment | An epilepsy treatment device that can be set-up and monitored with few in-hospital sessions | 3.6
Dr. John Hixson | SF VA Epilepsy Center for Excellence. June 5, 2018. | Epilepsy patients are unable to drive for risk of having a seizure while on the road | With the exception of focal aware seizures, all other types of seizure make patients likely to have an accident while driving | A device that can detect seizures in real time and set up safety measures for any vehicle or machinery being operated by the patient | 3.55
Dr. John Hixson | SF VA Epilepsy Center for Excellence. June 5, 2018. | The physician reviews EEG data by hand | The physician may miss important data during his review of a patient's EEG data | A device or system that can continuously review the EEG data | 3.55
Dr. John Hixson | SF VA Epilepsy Center for Excellence. June 5, 2018. | Patients stop taking their epilepsy medications due to negative side effects. | Current drug delivery technology targets the disease-causing area of the brain, but effects many other areas as well | A device or method to effectively limits the occurrence of epilepsy without side effects | 3.5
Dr. John Hixson | SF VA Epilepsy Center for Excellence. June 5, 2018. | Patients often become frustrated when discussing their seizures. Sometimes, they do not recognize that seizures an be caused by an underlying pathology. | Patients are not well-educated about epilepsy | A device or system that facilitates communication between physicians and patients | 3.5
Dr. John Hixson | SF VA Epilepsy Center for Excellence. June 5, 2018. | Patients must wear out-of-hospital monitoring devices 24/7 | Patients have difficulty charging their wearable epilepsy monitoring devices because they must always be worn for data collection | A device that can continuously monitor patients (24/7) with epilepsy out of hospital. | 3.5
Dr. John Hixson | SF VA Epilepsy Center for Excellence. June 5, 2018. | In screening potential surgery candidates, physicians often obtain abnormal EEG results, but normal MRI results | Epilepsy patients are unable to undergo surgery because physicians cannot pinpoint the exact location in the brain where seizures originate | A way to precisely pinpoint the origin of seizures for surgery candidates for epilepsy | 3.45
Dr. John Hixson | SF VA Epilepsy Center for Excellence. June 5, 2018. | The medications that physicians prescribe to epilepsy patients at SF VA are personalized for each patient, based on long-term effects, dosing schedules, and insurance | As a whole, physicians may not take their patients' desires into account when deciding on what medication to prescribe | A system that standardizes physicians' course of treatment, based on patient's preferences, history and situation | 3.45
Dr. John Hixson | SF VA Epilepsy Center for Excellence. June 5, 2018. | Some patients can predict when their seizures will occur, whereas others are not able to do so. | Patients who can not predict their own seizures are at higher risk of injuring themselves. | A device that can predict seizures several seconds before the seizure happens. | 3.4
Dr. John Hixson | SF VA Epilepsy Center for Excellence. June 5, 2018. | In some cases, physicians place epilepsy patients in monitoring rooms in order to diagnose what types of seizures the patient has | Seizure diagnoses for epilepsy patients may not be accurate because the data from which the diagnosis is derived is taken in unnatural, controlled conditions | A way to monitor patients with epilepsy in a natural, everyday setting. | 3.35
Dr. John Hixson | SF VA Epilepsy Center for Excellence. June 5, 2018. | In determining if a patient suffering from focal epilepsy is a candidate for surgery, it is often difficult to detect what area of the brain is causing epilepsy | Surgery candidates for epilepsy are not adequately informed of the risks of surgery | A device or system that allows patients to better understand and compare the various treatment options available to them | 3.25
Dr. John Hixson | SF VA Epilepsy Center for Excellence. June 5, 2018. | Physicians find data transmission interface between device and computer non-intuitive and difficult to use | Current user interface of the data transmission system between device and computer is not user friendly | A user-friendly interface that facilitates data transmission from device to computer for users and physicians | 3.15
Dr. John Hixson | SF VA Epilepsy Center for Excellence. June 5, 2018. | Epilepsy limits the types of activities that patients can enjoy | Current treatment takes away patients' freedom to enjoy a number of activities that are significant to their well-being | A way to allow patients increased freedom while prioritizing safety | 3.15
Dr. John Hixson | SF VA Epilepsy Center for Excellence. June 5, 2018. | Patients are sleep deprived in order to induce seizures | Meaningful diagnostic data is obtained at the cost of patients' comfort and health | A device that obtains meaningful data without consequences to the patients | 3.1
Dr. John Hixson | SF VA Epilepsy Center for Excellence. June 5, 2018. | Self-reported data from patients is not reliable, yet physicians must depend on it to make diagnoses | Current monitoring system relies heavily on patients' self control, which might not always be reliable | A device that allows patients to easily track seizures and access their data | 2.9
Dr. John Hixson | SF VA Epilepsy Center for Excellence. June 5, 2018. | Epilepsy patients are unable to drive for risk of having a seizure while on the road | Epilepsy patients do not have a way to independently transport themselves, resulting in a lack of mobility | A device that allows epilepsy patients to independently transport themselves from location to location | 2.85
Dr. John Hixson | SF VA Epilepsy Center for Excellence. June 5, 2018. | There are multiple probes on patients' body during the process of monitoring a patient for seizures | The current monitoring system is extensive and uncomfortable | A device that obtains meaningful data with minimum discomfort for the patients. | 2.85
Dr. John Hixson | SF VA Epilepsy Center for Excellence. June 5, 2018. | Each patient generates an excessive amount of data (1 GB) per day | The current database system cannot accommodate the high rate of data generation | A device that allows physicians to collect and store large amounts of patient data | 2.75
Dr. John Hixson | SF VA Epilepsy Center for Excellence. June 5, 2018. | The RNS treatment generates large amounts of patient data that would be valuable for epilepsy studies | Although the data obtained by the RNS treatment device is useful in determining patient and population trends, data cannot be widely shared due to HIPPA regulations and takes a long time to access. | An improvement to RNS devices that allows for better sharing and comparison of large amounts of data | 2.75
Dr. John Hixson | SF VA Epilepsy Center for Excellence. June 5, 2018. | Current monitoring applications operated by patients have clunky user interfaces | The system encourages non-compliance from patients | A user-friendly device that allows the patient to transmit their data in time | 2.7
Dr. John Hixson | SF VA Epilepsy Center for Excellence. June 5, 2018. | Neurocysticerosis is the #1 worldwide cause of focal seizures (due to structural abnormalities that occur in the brain as a result of scar tissue build-up after a parasitic infection) | Many international patients suffering from focal seizures have suffered irreparable brain damage as a result of neurocysticerosis | A device or method that prevents infection of taenia solium, the parasite involved in neurocysticerosis | 2.55
Dr. John Hixson | SF VA Epilepsy Center for Excellence. June 5, 2018. | Many wearable epilepsy-monitoring devices are digital | Patients may have their data accessed by unwanted third parties because of inadequate security | A device that can securely record data related to a patient's epilepsy | 2.55
Dr. John Hixson | SF VA Epilepsy Center for Excellence. June 5, 2018. | Peripheral Nervous System stimulations can be administered by holding a device against the neck where the vagus nerve is instead of subdermally | This method is not comfortable for patients and the device might inadvertently move away from the vagus nerve without the patient knowing | An device can comfortably and accurately provide stimulation to the vagus nerve | 2.4
Dr. John Hixson | SF VA Epilepsy Center for Excellence. June 5, 2018. | The RNS device is not yet insured because its developers still have to prove that their device is superior to the other current methods, despite showing 72% seizure reduction | Insurance may require extensive evidence to approve new treatments, which can hinder the development of new medical technology | A device or system that allows for direct and objective comparison between new technologies and treatments for insurance companies and other stakeholders | 2.3
Dr. John Hixson | SF VA Epilepsy Center for Excellence. June 5, 2018. | Eye blinking causes a huge peak in the EEG signal during in-hospital monitoring of seizures | Other brainwave signals are lost during eye blinking. | Better sensor/software that can catch other brainwave signals during eye blinking. | 2.3
Dr. John Hixson | SF VA Epilepsy Center for Excellence. June 5, 2018. | Monitoring and support equipment in patient rooms is difficult to access | It is hard for medical staff to access equipment quickly in case of an emergency or high stress situation | A device or system that allows medical providers to access equipment quickly | 2.05
Dr. John Hixson | SF VA Epilepsy Center for Excellence. June 5, 2018. | The nurses must accompany patients when they are having seizures | The nurses can not multitask to monitor and accompany patients at the same time | A system to monitor patients' activity when the nurse is occupied helping another patient, so that multiple patients can be monitored and taken care of at the same time | 2
Dr. John Hixson | SF VA Epilepsy Center for Excellence. June 5, 2018. | The keto diet can help to mitigate epileptic seizures. That being said, most patients have difficulty maintaining the diet. | The keto diet takes a large amount of time and effort to maintain | A device or method to help patients adapt to the keto diet quickly and sustainably | 1.8
Dr. John Hixson | SF VA Epilepsy Center for Excellence. June 5, 2018. | The nurses have to stare at the computer screen for 24 hours to monitor patients | Nurses who must digitally monitor patients all day can easily become fatigued | A device that allows nurses to monitor patient activity without becoming fatigued | 1.55
Dr. John Hixson | SF VA Epilepsy Center for Excellence. June 5, 2018. | General epilepsy is caused by hereditary genetic abnormalities that create channelopathies in nerve cells (abnormal Na+ channels) | The genes that cause channelopathy of nerve cells are not yet understood well enough to be used in gene therapy solutions | A device or method that allows physicians to better understand the channelopathy of nerve cells | 1.5